## all_calibrations_combined
source_file | product | model_name | serial_number | option_bits | x_option_bits | test_reference | led_level | threshold0 | threshold1 | threshold2 | threshold3 | threshold4 | threshold5 | threshold6 | threshold7 | effective_slit_width | effective_slit_height | channel_width | divergence_milliradians | channel_depth | calibration_led_level_initial | calibration_led_level_last | calibration_led_level_alarm | calibration_date_last | calibration_date_next | result_format | test_mode | wait_time_s | test_number | CycleCount | last_download | time_stamp | source_drive | continous_mode_confirm_target_n | flush_time_s | test_sequence | sample_portions | pump_target_flow_ml_min | pump_flow_emptying_ml_min | sample_volume_ml | pump_flush_volume_ml | pump_flow_flushing_ml_min | cml4_online_flush_ml | cml4_online_flush_ml_min | cml4_online_sample_ml | cml4_online_sample_ml_min | cml4_offline_flush_ml | cml4_offline_flush_ml_min | cml4_offline_sample_ml | cml4_offline_sample_ml_min | cml4_pump_leakage_ml_min | threshold32_0_value | threshold32_1_value | threshold32_2_value | threshold32_3_value | threshold32_4_value | threshold32_5_value | threshold32_6_value | threshold32_7_value | threshold32_8_value | threshold32_9_value | threshold32_10_value | threshold32_11_value | threshold32_12_value | threshold32_13_value | threshold32_14_value | threshold32_15_value | threshold32_16_value | threshold32_17_value | threshold32_18_value | threshold32_19_value | threshold32_20_value | threshold32_21_value | threshold32_22_value | threshold32_23_value | threshold32_24_value | threshold32_25_value | threshold32_26_value | threshold32_27_value | threshold32_28_value | threshold32_29_value | threshold32_30_value | threshold32_31_value | threshold32_0_sz | threshold32_1_sz | threshold32_2_sz | threshold32_3_sz | threshold32_4_sz | threshold32_5_sz | threshold32_6_sz | threshold32_7_sz | threshold32_8_sz | threshold32_9_sz | threshold32_10_sz | threshold32_11_sz | threshold32_12_sz | threshold32_13_sz | threshold32_14_sz | threshold32_15_sz | threshold32_16_sz | threshold32_17_sz | threshold32_18_sz | threshold32_19_sz | threshold32_20_sz | threshold32_21_sz | threshold32_22_sz | threshold32_23_sz | threshold32_24_sz | threshold32_25_sz | threshold32_26_sz | threshold32_27_sz | threshold32_28_sz | threshold32_29_sz | threshold32_30_sz | threshold32_31_sz | verification_count_1_0 | verification_count_1_1 | verification_count_1_2 | verification_count_1_3 | verification_count_1_4 | verification_count_1_5 | verification_count_1_6 | verification_count_1_7 | verification_count_2_0 | verification_count_2_1 | verification_count_2_2 | verification_count_2_3 | verification_count_2_4 | verification_count_2_5 | verification_count_2_6 | verification_count_2_7 | verification_count_3_0 | verification_count_3_1 | verification_count_3_2 | verification_count_3_3 | verification_count_3_4 | verification_count_3_5 | verification_count_3_6 | verification_count_3_7 | reference_count_0 | reference_count_1 | reference_count_2 | reference_count_3 | reference_count_4 | reference_count_5 | reference_count_6 | reference_count_7 | verification_count32_1_0 | verification_count32_1_1 | verification_count32_1_2 | verification_count32_1_3 | verification_count32_1_4 | verification_count32_1_5 | verification_count32_1_6 | verification_count32_1_7 | verification_count32_1_8 | verification_count32_1_9 | verification_count32_1_10 | verification_count32_1_11 | verification_count32_1_12 | verification_count32_1_13 | verification_count32_1_14 | verification_count32_1_15 | verification_count32_1_16 | verification_count32_1_17 | verification_count32_1_18 | verification_count32_1_19 | verification_count32_1_20 | verification_count32_1_21 | verification_count32_1_22 | verification_count32_1_23 | verification_count32_1_24 | verification_count32_1_25 | verification_count32_1_26 | verification_count32_1_27 | verification_count32_1_28 | verification_count32_1_29 | verification_count32_1_30 | verification_count32_1_31 | verification_count32_2_0 | verification_count32_2_1 | verification_count32_2_2 | verification_count32_2_3 | verification_count32_2_4 | verification_count32_2_5 | verification_count32_2_6 | verification_count32_2_7 | verification_count32_2_8 | verification_count32_2_9 | verification_count32_2_10 | verification_count32_2_11 | verification_count32_2_12 | verification_count32_2_13 | verification_count32_2_14 | verification_count32_2_15 | verification_count32_2_16 | verification_count32_2_17 | verification_count32_2_18 | verification_count32_2_19 | verification_count32_2_20 | verification_count32_2_21 | verification_count32_2_22 | verification_count32_2_23 | verification_count32_2_24 | verification_count32_2_25 | verification_count32_2_26 | verification_count32_2_27 | verification_count32_2_28 | verification_count32_2_29 | verification_count32_2_30 | verification_count32_2_31 | verification_count32_3_0 | verification_count32_3_1 | verification_count32_3_2 | verification_count32_3_3 | verification_count32_3_4 | verification_count32_3_5 | verification_count32_3_6 | verification_count32_3_7 | verification_count32_3_8 | verification_count32_3_9 | verification_count32_3_10 | verification_count32_3_11 | verification_count32_3_12 | verification_count32_3_13 | verification_count32_3_14 | verification_count32_3_15 | verification_count32_3_16 | verification_count32_3_17 | verification_count32_3_18 | verification_count32_3_19 | verification_count32_3_20 | verification_count32_3_21 | verification_count32_3_22 | verification_count32_3_23 | verification_count32_3_24 | verification_count32_3_25 | verification_count32_3_26 | verification_count32_3_27 | verification_count32_3_28 | verification_count32_3_29 | verification_count32_3_30 | verification_count32_3_31 | reference_count32_0 | reference_count32_1 | reference_count32_2 | reference_count32_3 | reference_count32_4 | reference_count32_5 | reference_count32_6 | reference_count32_7 | reference_count32_8 | reference_count32_9 | reference_count32_10 | reference_count32_11 | reference_count32_12 | reference_count32_13 | reference_count32_14 | reference_count32_15 | reference_count32_16 | reference_count32_17 | reference_count32_18 | reference_count32_19 | reference_count32_20 | reference_count32_21 | reference_count32_22 | reference_count32_23 | reference_count32_24 | reference_count32_25 | reference_count32_26 | reference_count32_27 | reference_count32_28 | reference_count32_29 | reference_count32_30 | reference_count32_31 | pump_current_sampling | pump_current_emptying | no_noise_threshold | date_ | serial_number_ | meas_init_level | calc_init_volume | desired_concentration | calc_qty_add | meas_qty_add | meas_final_level | calc_volume | calc_concentration | rig_param_volume_mult | rig_param_volume_constant | rig_param_identifier | rig_cleanliness_count
63010045-2026-05-20-LPA3 NAVAIR.csv | LPA3 NAVAIR | LPA3 NAVAIR | 63010045 | 1072 | 0 | LPA3 NAVAIR #63010045 CALIBRATE | 12917 | 74 | 182 | 1006 | 2014 | 2926 | 7358 | 12254 | 27888 | 60 | 300 | 750 | 200 | 500 | 12373 | 104.4 | 50 | 1779281839 | 1810817839 | 1 | 0 | 0 | 8 | 0 | 2147483648 | 0 | 0 | 0 | 30 | 0 | 1 | 30 | 150 | 40 | 20 | 100 | 90 | 50 | 50 | 50 | 40 | 20 | 40 | 20 | 0 | 74 | 120 | 182 | 248 | 330 | 422 | 518 | 622 | 750 | 876 | 1006 | 1146 | 1278 | 1406 | 1534 | 1662 | 1838 | 2014 | 2266 | 2462 | 2698 | 2926 | 3150 | 3438 | 3790 | 4094 | 4430 | 7358 | 12254 | 27888 | 27888 | 27888 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 38 | 50 | 70 | 70 | 70 | 1113188 | 482390 | 37393 | 11715 | 5505 | 534 | 117 | 0 | 1117253 | 484082 | 37366 | 11638 | 5766 | 610 | 87 | 11 | 1127555 | 486548 | 38378 | 11674 | 5710 | 564 | 105 | 11 | 1110040 | 480388 | 37717.8 | 11138.5 | 5496.74 | 460.139 | 88.4012 | 18.1336 | 11131.9 | 7262.51 | 4823.91 | 3384.39 | 2298.56 | 1578.51 | 1127.21 | 829.047 | 610.237 | 469.783 | 373.937 | 303.328 | 252.735 | 216.579 | 188.582 | 163.99 | 136.052 | 117.152 | 91.562 | 77.8864 | 65.2086 | 55.0546 | 46.6614 | 38.1508 | 29.7576 | 24.2404 | 20.6601 | 5.3411 | 1.1739 | 0 | 0 | 0 | 11172.5 | 7301.42 | 4840.82 | 3387.88 | 2302.56 | 1587.68 | 1135.65 | 838.304 | 609.708 | 474.439 | 373.661 | 301.276 | 252.764 | 216.395 | 185.482 | 162.78 | 137.029 | 116.381 | 94.4419 | 80.9502 | 68.2211 | 57.6624 | 49.0981 | 41.5896 | 33.3186 | 27.1594 | 22.7599 | 6.1006 | 0.87989 | 0.11732 | 0.11732 | 0.11732 | 11275.6 | 7350.37 | 4865.49 | 3395.28 | 2314.27 | 1598.41 | 1145.35 | 846.823 | 621.325 | 482.547 | 383.782 | 307.872 | 259.341 | 220.857 | 191.891 | 166.685 | 138.483 | 116.744 | 93.0665 | 79.3768 | 67.3322 | 57.109 | 49.1772 | 40.5991 | 31.551 | 26.2043 | 20.5639 | 5.6404 | 1.0576 | 0.11751 | 0.11751 | 0.11751 | 11100.4 | 7198.17 | 4803.88 | 3362.53 | 2300.47 | 1582.04 | 1129 | 822.29 | 608.223 | 473.445 | 377.178 | 306.185 | 254.187 | 213.931 | 183.194 | 157.739 | 134.211 | 111.385 | 92.6172 | 77.113 | 65.6209 | 54.9674 | 44.6313 | 36.5392 | 29.6484 | 24.5483 | 21.0803 | 4.6014 | 0.88401 | 0.18134 | 0.18134 | 0.18134 | 20 | 221 | 33 | 46162.6 | 63010045 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 16 | -1 | 0 | 303 | 0
63010046-2026-05-21-LPA3 NAVAIR.csv | LPA3 NAVAIR | LPA3 NAVAIR | 63010046 | 1072 | 0 | LPA3 NAVAIR #63010046 CALIBRATE | 13349 | 74 | 184 | 1040 | 2146 | 3132 | 9322 | 15106 | 23024 | 60 | 300 | 750 | 200 | 500 | 13641 | 97.86 | 50 | 1779356770 | 1810892770 | 1 | 0 | 0 | 7 | 0 | 2147483648 | 0 | 0 | 0 | 30 | 0 | 1 | 30 | 150 | 40 | 20 | 100 | 90 | 50 | 50 | 50 | 40 | 20 | 40 | 20 | 0 | 74 | 122 | 184 | 252 | 336 | 434 | 534 | 646 | 770 | 898 | 1040 | 1184 | 1326 | 1472 | 1610 | 1756 | 1928 | 2146 | 2368 | 2618 | 2838 | 3132 | 3520 | 3862 | 4270 | 4626 | 5072 | 9322 | 15106 | 23024 | 23024 | 23024 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 38 | 50 | 70 | 70 | 70 | 1351669 | 557606 | 43532 | 11816 | 5682 | 298 | 67 | 6 | 1362105 | 562183 | 44620 | 12932 | 6225 | 396 | 85 | 18 | 1363347 | 563341 | 44382 | 12303 | 5727 | 341 | 73 | 6 | 1366300 | 561616 | 43836.5 | 12180 | 5782.61 | 358.648 | 67.5375 | 11.6444 | 13516.7 | 8456.25 | 5576.06 | 3893.09 | 2669.96 | 1818.75 | 1302.58 | 954.312 | 716.831 | 556.357 | 435.33 | 346.923 | 286.318 | 237.785 | 202.483 | 171.205 | 145.232 | 118.161 | 99.8088 | 82.1274 | 69.8113 | 56.8246 | 44.6305 | 37.0701 | 30.4243 | 24.5711 | 19.6325 | 2.9876 | 0.67068 | 0.060971 | 0.060971 | 0.060971 | 13621.1 | 8533.55 | 5621.84 | 3923.75 | 2688.89 | 1843.04 | 1326.47 | 972.3 | 721.215 | 561.433 | 446.205 | 363.201 | 299.972 | 254.992 | 218.311 | 188.467 | 158.439 | 129.327 | 107.111 | 88.8625 | 76.1679 | 62.2526 | 48.5204 | 39.1215 | 30.8822 | 26.2437 | 21.2391 | 3.9671 | 0.85445 | 0.1831 | 0.1831 | 0.1831 | 13633.5 | 8535.97 | 5633.41 | 3923.99 | 2682.38 | 1837.71 | 1325.25 | 976.31 | 725.791 | 563.195 | 443.827 | 359.995 | 293.382 | 246.611 | 210.587 | 181.219 | 151.789 | 123.031 | 101.966 | 83.3436 | 71.4373 | 57.272 | 42.7403 | 34.4975 | 27.4759 | 22.5302 | 16.8519 | 3.4192 | 0.73269 | 0.061058 | 0.061058 | 0.061058 | 13663 | 8559.47 | 5616.16 | 3899.92 | 2667.9 | 1841.35 | 1320.31 | 960.034 | 716.34 | 556.206 | 438.365 | 351.777 | 291.343 | 243.252 | 207.177 | 176.459 | 147.977 | 121.8 | 100.654 | 82.978 | 70.4952 | 57.8261 | 45.4132 | 36.6333 | 29.4836 | 24.4998 | 19.7722 | 3.5865 | 0.67537 | 0.11644 | 0.11644 | 0.11644 | 43 | 295 | 32 | 46163.4 | 63010046 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 16 | -1 | 0 | 303 | 0
63010047-2026-05-18-LPA3 NAVAIR.csv | LPA3 NAVAIR | LPA3 NAVAIR | 63010047 | 1072 | 0 | LPA3 NAVAIR #63010047 CALIBRATE | 11356 | 72 | 174 | 966 | 1924 | 2694 | 5586 | 13132 | 23590 | 60 | 300 | 750 | 200 | 500 | 11401 | 99.61 | 50 | 1779118242 | 1810654242 | 1 | 0 | 0 | 8 | 0 | 2147483648 | 0 | 4095 | 0 | 30 | 0 | 1 | 30 | 150 | 50 | 20 | 100 | 90 | 50 | 50 | 50 | 40 | 20 | 40 | 20 | 0 | 72 | 116 | 174 | 234 | 312 | 398 | 494 | 602 | 724 | 842 | 966 | 1092 | 1216 | 1346 | 1466 | 1600 | 1748 | 1924 | 2126 | 2318 | 2514 | 2694 | 2942 | 3166 | 3394 | 3586 | 3760 | 5586 | 13132 | 23590 | 23590 | 23590 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 38 | 50 | 70 | 70 | 70 | 2165740 | 781980 | 49376 | 16237 | 10109 | 4480 | 2446 | 813 | 2168771 | 783622 | 49086 | 16597 | 10183 | 4516 | 2578 | 629 | 2192538 | 791975 | 49236 | 16753 | 10257 | 4593 | 2552 | 790 | 2137930 | 764305 | 48893.8 | 16294.5 | 10098.6 | 4576.24 | 2637.77 | 791.844 | 21657.4 | 12884.7 | 7819.81 | 5198.13 | 3350.99 | 2247.59 | 1559.52 | 1107.93 | 805.948 | 624.571 | 493.766 | 404.468 | 338.807 | 286.073 | 250.076 | 215.675 | 187.351 | 162.374 | 139.921 | 124.162 | 110.824 | 101.091 | 89.504 | 81.3673 | 75.136 | 70.9646 | 67.3083 | 44.8035 | 24.4617 | 8.1367 | 8.1367 | 8.1367 | 21687.7 | 12943.8 | 7836.22 | 5207.86 | 3359.72 | 2254.03 | 1549.69 | 1097.75 | 803.85 | 620.187 | 490.869 | 402.905 | 337.112 | 286.581 | 251.158 | 219.241 | 190.109 | 165.978 | 143.445 | 125.45 | 111.889 | 101.835 | 90.4396 | 82.8084 | 75.3835 | 71.4648 | 67.0305 | 45.1682 | 25.781 | 6.2905 | 6.2905 | 6.2905 | 21925.4 | 13046 | 7919.75 | 5267.28 | 3397.9 | 2285.83 | 1576.74 | 1107.93 | 806.093 | 620.318 | 492.369 | 403.383 | 340.958 | 290.936 | 254.814 | 224.067 | 195.387 | 167.533 | 144.176 | 127.536 | 113.635 | 102.577 | 91.4148 | 83.6117 | 76.8938 | 71.9329 | 68.1089 | 45.9399 | 25.5279 | 7.9064 | 7.9064 | 7.9064 | 21379.3 | 12509 | 7643.05 | 5061.94 | 3303.89 | 2202.92 | 1526.41 | 1084.93 | 792.616 | 614.913 | 488.938 | 398.185 | 334.117 | 283.676 | 248.3 | 216.369 | 188.192 | 162.945 | 141.298 | 124.947 | 111.527 | 100.986 | 89.7766 | 81.7554 | 75.7908 | 70.8032 | 66.7412 | 45.7624 | 26.3777 | 7.9184 | 7.9184 | 7.9184 | 24 | 317 | 33 | 46160.7 | 63010047 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 16 | -1 | 0 | 303 | 0
63010048-2026-05-21-LPA3 NAVAIR.csv | LPA3 NAVAIR | LPA3 NAVAIR | 63010048 | 1072 | 0 | LPA3 NAVAIR #63010048 CALIBRATE | 11891 | 72 | 170 | 978 | 2082 | 3022 | 8530 | 11880 | 19026 | 60 | 300 | 750 | 200 | 500 | 12051 | 98.67 | 50 | 1779373601 | 1810909601 | 1 | 0 | 0 | 7 | 0 | 2147483648 | 0 | 4095 | 0 | 30 | 0 | 1 | 30 | 150 | 50 | 20 | 100 | 90 | 50 | 50 | 50 | 40 | 20 | 40 | 20 | 0 | 72 | 114 | 170 | 230 | 306 | 394 | 486 | 598 | 724 | 852 | 978 | 1120 | 1276 | 1398 | 1516 | 1700 | 1886 | 2082 | 2252 | 2502 | 2788 | 3022 | 3314 | 3670 | 4148 | 4572 | 5054 | 8530 | 11880 | 19026 | 19026 | 19026 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 38 | 50 | 70 | 70 | 70 | 1016115 | 447389 | 35577 | 10107 | 5001 | 371 | 101 | 13 | 1018538 | 446506 | 35436 | 10024 | 4968 | 371 | 142 | 27 | 1019116 | 448199 | 35509 | 10146 | 4875 | 344 | 82 | 4 | 1022240 | 444860 | 35250 | 10150 | 5060 | 400 | 130 | 20 | 10161.2 | 6704.25 | 4473.9 | 3139.15 | 2151.09 | 1481.29 | 1074.72 | 775.11 | 573.961 | 441.057 | 355.775 | 289.323 | 234.443 | 200.735 | 174.926 | 143.1 | 119.311 | 101.079 | 87.0724 | 72.6981 | 58.7371 | 50.0115 | 41.9748 | 33.7084 | 26.3605 | 21.6763 | 17.3134 | 3.7199 | 1.0103 | 0.13777 | 0.13777 | 0.13777 | 10185.4 | 6699.87 | 4465.07 | 3137.95 | 2142.14 | 1481.64 | 1063.36 | 757.533 | 563.753 | 436.923 | 354.36 | 283.92 | 230.47 | 197.821 | 172.657 | 142.167 | 119.253 | 100.242 | 88.5786 | 72.6905 | 58.8687 | 49.6848 | 41.5571 | 33.062 | 25.2557 | 19.6535 | 15.934 | 3.7195 | 1.4235 | 0.27552 | 0.27552 | 0.27552 | 10191.2 | 6697.19 | 4482 | 3144.95 | 2159.08 | 1482.36 | 1068.9 | 776.816 | 571.583 | 442.175 | 355.091 | 285.746 | 232.622 | 200.913 | 175.73 | 145.446 | 121.182 | 101.468 | 86.6704 | 69.7591 | 56.662 | 48.7578 | 41.4051 | 33.5009 | 26.7456 | 21.4608 | 17.187 | 3.4466 | 0.82718 | 0.045955 | 0.045955 | 0.045955 | 10222.4 | 6648.9 | 4448.6 | 3127.4 | 2142.2 | 1483.5 | 1067.4 | 764.6 | 566.3 | 438.9 | 352.5 | 285.3 | 231.3 | 200.3 | 174.1 | 143.6 | 121.2 | 101.5 | 88.6 | 73 | 59.5 | 50.6 | 41.7 | 34 | 26.4 | 21.5 | 16.7 | 4 | 1.3 | 0.2 | 0.2 | 0.2 | 39 | 273 | 31 | 46163.6 | 63010048 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 16 | -1 | 0 | 303 | 0
63010049-2026-05-20-LPA3 NAVAIR.csv | LPA3 NAVAIR | LPA3 NAVAIR | 63010049 | 1072 | 0 | LPA3 NAVAIR #63010049 CALIBRATE | 12394 | 64 | 164 | 982 | 2072 | 2996 | 8818 | 14440 | 28990 | 60 | 300 | 750 | 200 | 500 | 12636 | 98.08 | 50 | 1779285451 | 1810821451 | 1 | 0 | 0 | 24 | 0 | 2147483648 | 0 | 4095 | 0 | 30 | 0 | 1 | 30 | 150 | 50 | 20 | 100 | 90 | 50 | 50 | 50 | 40 | 20 | 40 | 20 | 0 | 64 | 108 | 164 | 226 | 306 | 400 | 494 | 606 | 730 | 856 | 982 | 1122 | 1246 | 1382 | 1528 | 1668 | 1838 | 2072 | 2282 | 2518 | 2746 | 2996 | 3356 | 3654 | 4004 | 4336 | 4684 | 8818 | 14440 | 28990 | 28990 | 28990 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 38 | 50 | 70 | 70 | 70 | 1188324 | 502206 | 38101 | 10562 | 5342 | 392 | 89 | 4 | 1193614 | 503502 | 38089 | 11359 | 5835 | 359 | 33 | 9 | 1199000 | 505329 | 38422 | 11388 | 5930 | 453 | 47 | 0 | 1181320 | 501618 | 38258.4 | 10950.3 | 5531.48 | 394.301 | 78.8601 | 10.962 | 11883.2 | 7489.48 | 5022.07 | 3528.98 | 2397.78 | 1635.46 | 1175.32 | 840.499 | 618.53 | 475.447 | 381.019 | 305.911 | 256.028 | 214.506 | 179.078 | 154.845 | 131.462 | 105.623 | 88.7123 | 72.9349 | 62.5899 | 53.4258 | 43.8365 | 36.5619 | 30.3738 | 25.5556 | 21.7293 | 3.9207 | 0.89751 | 0.047238 | 0.047238 | 0.047238 | 11936.1 | 7527.96 | 5035.02 | 3533.84 | 2405.34 | 1631.78 | 1166.02 | 836.162 | 620.648 | 477.429 | 380.894 | 308.647 | 261.679 | 220.759 | 187.919 | 161.128 | 138.211 | 113.593 | 96.96 | 81.6505 | 68.0421 | 58.3556 | 45.8812 | 37.6594 | 31.6585 | 25.9411 | 21.3104 | 3.5911 | 0.33076 | 0.094503 | 0.094503 | 0.094503 | 11990 | 7575.69 | 5053.29 | 3558.21 | 2418.1 | 1638.78 | 1184.15 | 849.351 | 626.783 | 481.239 | 384.226 | 309.989 | 262.215 | 224.364 | 190.483 | 164.682 | 140.204 | 113.883 | 96.3045 | 80.9468 | 69.6058 | 59.3043 | 47.4907 | 40.5443 | 34.4485 | 29.4395 | 24.2415 | 4.5364 | 0.47254 | 0 | 0 | 0 | 11813.2 | 7564.6 | 5016.18 | 3528.2 | 2407.15 | 1633.19 | 1169.05 | 840.311 | 619.052 | 479.132 | 382.584 | 309.808 | 260.464 | 220.696 | 186.786 | 160.762 | 135.639 | 109.503 | 92.6043 | 77.8462 | 66.0172 | 55.3148 | 44.1617 | 37.2896 | 30.3048 | 25.4606 | 21.0669 | 3.943 | 0.7886 | 0.10962 | 0.10962 | 0.10962 | 18 | 252 | 34 | 46162.6 | 63010049 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 16 | -1 | 0 | 303 | 0
63010050-2026-05-20-LPA3 NAVAIR.csv | LPA3 NAVAIR | LPA3 NAVAIR | 63010050 | 1072 | 0 | LPA3 NAVAIR #63010050 CALIBRATE | 13852 | 74 | 180 | 1030 | 2164 | 3212 | 8818 | 13828 | 21504 | 60 | 300 | 750 | 200 | 500 | 14123 | 98.08 | 50 | 1779287251 | 1810823251 | 1 | 0 | 0 | 10 | 0 | 2147483648 | 0 | 0 | 0 | 30 | 0 | 1 | 30 | 150 | 40 | 20 | 100 | 90 | 50 | 50 | 50 | 40 | 20 | 40 | 20 | 0 | 74 | 120 | 180 | 244 | 326 | 418 | 516 | 636 | 762 | 894 | 1030 | 1170 | 1318 | 1486 | 1624 | 1782 | 1964 | 2164 | 2416 | 2640 | 2902 | 3212 | 3534 | 3918 | 4290 | 4626 | 4832 | 8818 | 13828 | 21504 | 21504 | 21504 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 38 | 50 | 70 | 70 | 70 | 1241182 | 517275 | 39847 | 11326 | 5102 | 481 | 96 | 12 | 1234843 | 511116 | 39558 | 11230 | 5247 | 409 | 48 | 12 | 1237749 | 516493 | 40623 | 11526 | 5038 | 385 | 66 | 18 | 1220800 | 515433 | 39407.9 | 11030.1 | 5153.43 | 440.754 | 101.712 | 22.6027 | 12411.8 | 7893.06 | 5172.75 | 3597.09 | 2433.11 | 1683.02 | 1216.1 | 875.159 | 653.99 | 503.671 | 398.479 | 324.495 | 266.295 | 219.724 | 188.335 | 162.428 | 134.714 | 113.266 | 91.4561 | 77.5991 | 64.5856 | 51.0299 | 42.0529 | 33.6183 | 27.473 | 23.0749 | 20.906 | 4.8198 | 0.96396 | 0.1205 | 0.1205 | 0.1205 | 12348.4 | 7824.32 | 5111.16 | 3574.21 | 2421.8 | 1666.19 | 1198.19 | 859.542 | 641.75 | 495.47 | 395.581 | 322.02 | 263.821 | 214.479 | 186.524 | 158.148 | 134.351 | 112.3 | 91.756 | 76.9352 | 64.3437 | 52.475 | 43.9802 | 34.5215 | 27.2918 | 22.5926 | 19.761 | 4.0968 | 0.48197 | 0.12049 | 0.12049 | 0.12049 | 12377.5 | 7855.66 | 5164.94 | 3619.01 | 2455.79 | 1700.32 | 1236.53 | 885.13 | 664.164 | 511.094 | 406.239 | 331.781 | 270.144 | 217.716 | 186.356 | 158.667 | 134.169 | 115.269 | 93.1779 | 77.2871 | 61.9982 | 50.3811 | 41.9542 | 33.2262 | 26.6653 | 22.6926 | 21.0072 | 3.8523 | 0.66212 | 0.18058 | 0.18058 | 0.18058 | 12208 | 7808.34 | 5154.33 | 3578.24 | 2439.74 | 1677.8 | 1206.53 | 865.911 | 646.664 | 497.825 | 394.079 | 319.829 | 263.322 | 215.743 | 184.325 | 156.524 | 131.322 | 110.301 | 91.0891 | 76.6233 | 63.5137 | 51.5343 | 42.7192 | 34.6952 | 28.5925 | 24.298 | 21.3596 | 4.4075 | 1.0171 | 0.22603 | 0.22603 | 0.22603 | 26 | 284 | 46 | 46162.6 | 63010050 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 16 | -1 | 0 | 303 | 0
63010051-2026-05-20-LPA3 NAVAIR.csv | LPA3 NAVAIR | LPA3 NAVAIR | 63010051 | 1072 | 0 | LPA3 NAVAIR #63010051 CALIBRATE | 12920 | 78 | 186 | 1056 | 2204 | 3238 | 8174 | 12780 | 18446 | 60 | 300 | 750 | 200 | 500 | 13123 | 98.45 | 50 | 1779287269 | 1810823269 | 1 | 0 | 0 | 11 | 0 | 2147483648 | 0 | 0 | 0 | 30 | 0 | 1 | 30 | 150 | 40 | 20 | 100 | 90 | 50 | 50 | 50 | 40 | 20 | 40 | 20 | 0 | 78 | 124 | 186 | 254 | 336 | 432 | 530 | 650 | 780 | 914 | 1056 | 1198 | 1348 | 1516 | 1664 | 1822 | 2010 | 2204 | 2438 | 2672 | 2938 | 3238 | 3530 | 3876 | 4240 | 4558 | 4802 | 8174 | 12780 | 18446 | 18446 | 18446 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 38 | 50 | 70 | 70 | 70 | 1203122 | 511959 | 39597 | 11630 | 5386 | 625 | 172 | 41 | 1198586 | 509513 | 38877 | 11054 | 5190 | 529 | 77 | 17 | 1209719 | 516122 | 39779 | 11502 | 5408 | 476 | 89 | 35 | 1220800 | 515433 | 39407.9 | 11030.1 | 5153.43 | 440.754 | 101.712 | 22.6027 | 12031.2 | 7770.98 | 5119.6 | 3534.55 | 2418.95 | 1664.35 | 1204.92 | 862.085 | 644.255 | 501.378 | 395.979 | 325.136 | 268.951 | 222.716 | 190.303 | 162.896 | 136.561 | 116.303 | 97.237 | 81.4479 | 66.5525 | 53.8617 | 44.0903 | 36.4043 | 30.1482 | 26.0967 | 23.058 | 6.2561 | 1.7279 | 0.41707 | 0.41707 | 0.41707 | 11985.9 | 7742.21 | 5095.14 | 3534.39 | 2420.69 | 1663.32 | 1210.37 | 867.435 | 636.29 | 489.971 | 388.774 | 314.662 | 260.016 | 212.811 | 181.618 | 156.081 | 130.841 | 110.543 | 89.827 | 74.5285 | 63.3373 | 51.908 | 44.348 | 35.4784 | 28.6327 | 24.8825 | 22.5014 | 5.298 | 0.77386 | 0.17858 | 0.17858 | 0.17858 | 12097.2 | 7843.96 | 5161.22 | 3565.71 | 2439.88 | 1668.9 | 1201.77 | 866.528 | 645.771 | 500.426 | 397.791 | 323.273 | 264.956 | 219.863 | 187.161 | 159.641 | 135.039 | 115.025 | 94.474 | 79.1651 | 65.6433 | 54.0872 | 46.1648 | 37.8849 | 31.0942 | 26.5075 | 23.4696 | 4.7654 | 0.89351 | 0.3574 | 0.3574 | 0.3574 | 12208 | 7808.34 | 5154.33 | 3578.24 | 2439.74 | 1677.8 | 1206.53 | 865.911 | 646.664 | 497.825 | 394.079 | 319.829 | 263.322 | 215.743 | 184.325 | 156.524 | 131.322 | 110.301 | 91.0891 | 76.6233 | 63.5137 | 51.5343 | 42.7192 | 34.6952 | 28.5925 | 24.298 | 21.3596 | 4.4075 | 1.0171 | 0.22603 | 0.22603 | 0.22603 | 29 | 262 | 37 | 46162.6 | 63010051 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 16 | -1 | 0 | 303 | 0
63010052-2026-05-20-LPA3 NAVAIR.csv | LPA3 NAVAIR | LPA3 NAVAIR | 63010052 | 1072 | 0 | LPA3 NAVAIR #63010052 CALIBRATE | 9295 | 50 | 140 | 982 | 2144 | 3208 | 10692 | 16040 | 20590 | 60 | 300 | 750 | 200 | 500 | 9538 | 97.45 | 50 | 1779290762 | 1810826762 | 1 | 0 | 0 | 6 | 0 | 2147483648 | 0 | 0 | 0 | 30 | 0 | 1 | 30 | 150 | 40 | 20 | 100 | 90 | 50 | 50 | 50 | 40 | 20 | 40 | 20 | 0 | 50 | 86 | 140 | 206 | 294 | 392 | 494 | 610 | 732 | 852 | 982 | 1116 | 1262 | 1408 | 1562 | 1724 | 1912 | 2144 | 2394 | 2658 | 2908 | 3208 | 3634 | 4028 | 4522 | 4792 | 5324 | 10692 | 16040 | 20590 | 20590 | 20590 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 38 | 50 | 70 | 70 | 70 | 1366436 | 555856 | 42126 | 11267 | 5451 | 370 | 64 | 11 | 1393315 | 564566 | 41804 | 11633 | 5872 | 381 | 70 | 23 | 1403860 | 561172 | 40766 | 11240 | 5673 | 310 | 64 | 17 | 1276640 | 528471 | 40866.8 | 11621.2 | 5776.63 | 373.782 | 101.941 | 33.9802 | 13664.4 | 8564.26 | 5558.57 | 3802.94 | 2549.7 | 1747.11 | 1247.89 | 895.351 | 671.058 | 525.837 | 421.269 | 343.783 | 281.688 | 234.339 | 194.567 | 164.196 | 137.877 | 112.675 | 94.6401 | 78.7787 | 66.6769 | 54.5165 | 43.9422 | 35.6589 | 28.3744 | 25.1434 | 19.915 | 3.701 | 0.64621 | 0.11749 | 0.11749 | 0.11749 | 13933.2 | 8692.97 | 5645.66 | 3852.07 | 2585.33 | 1774.77 | 1255.65 | 902.548 | 672.467 | 527.919 | 418.041 | 342.071 | 277.364 | 231.371 | 196.466 | 168.014 | 141.263 | 116.331 | 95.7399 | 80.2526 | 68.7544 | 58.7228 | 46.99 | 39.5983 | 30.8574 | 26.9269 | 21.8231 | 3.8132 | 0.70397 | 0.23466 | 0.23466 | 0.23466 | 14038.6 | 8697.4 | 5611.73 | 3835.25 | 2552.6 | 1746.41 | 1239.58 | 888.881 | 660.961 | 515.735 | 407.665 | 330.246 | 269.999 | 228.506 | 192.58 | 163.453 | 136.904 | 112.407 | 94.2975 | 79.3529 | 68.1591 | 56.7309 | 45.1854 | 35.867 | 27.838 | 24.9663 | 20.7466 | 3.1061 | 0.64467 | 0.17582 | 0.17582 | 0.17582 | 12766.4 | 8065.88 | 5284.71 | 3655.93 | 2480.33 | 1699.92 | 1209.47 | 871.705 | 652.873 | 514.573 | 408.668 | 334.365 | 274.786 | 231.518 | 196.405 | 168.542 | 141.358 | 116.212 | 96.7303 | 81.0994 | 68.9798 | 57.7663 | 45.4202 | 37.3782 | 29.676 | 26.0515 | 21.0677 | 3.7378 | 1.0194 | 0.3398 | 0.3398 | 0.3398 | 31 | 259 | 0 | 46162.7 | 63010052 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 16 | -1 | 0 | 303 | 0
63010053-2026-05-21-LPA3 NAVAIR.csv | LPA3 NAVAIR | LPA3 NAVAIR | 63010053 | 1072 | 0 | LPA3 NAVAIR #63010053 CALIBRATE | 8735 | 74 | 174 | 1010 | 2160 | 3232 | 10266 | 16808 | 29358 | 60 | 300 | 750 | 200 | 500 | 14710 | 59.38 | 50 | 1779363393 | 1810899393 | 1 | 0 | 0 | 9 | 0 | 2147483648 | 0 | 0 | 0 | 30 | 0 | 1 | 30 | 150 | 40 | 20 | 100 | 90 | 50 | 50 | 50 | 40 | 20 | 40 | 20 | 0 | 74 | 118 | 174 | 236 | 314 | 406 | 504 | 618 | 744 | 874 | 1010 | 1156 | 1300 | 1452 | 1606 | 1762 | 1946 | 2160 | 2426 | 2698 | 2962 | 3232 | 3616 | 4006 | 4360 | 4746 | 5196 | 10266 | 16808 | 29358 | 29358 | 29358 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 38 | 50 | 70 | 70 | 70 | 1426466 | 584860 | 45068 | 12135 | 5402 | 217 | 23 | 0 | 1433580 | 585192 | 45154 | 12069 | 5542 | 270 | 47 | 5 | 1435990 | 586941 | 45450 | 12045 | 5528 | 282 | 88 | 0 | 1443260 | 580918 | 45127 | 12148.9 | 5521.39 | 288.869 | 51.6676 | 4.6971 | 14264.7 | 8895.58 | 5848.6 | 4052.4 | 2760.37 | 1899.26 | 1368.53 | 994.532 | 739.293 | 569.506 | 450.685 | 363.761 | 296.67 | 245.234 | 206.333 | 173.377 | 145.128 | 121.352 | 96.1634 | 77.6251 | 65.9725 | 54.0257 | 44.1386 | 36.1348 | 30.4851 | 25.3062 | 20.1272 | 2.1775 | 0.23541 | 0 | 0 | 0 | 14335.8 | 8925.65 | 5851.93 | 4047.68 | 2764.07 | 1900.79 | 1363.07 | 986.974 | 740.407 | 571.474 | 451.548 | 360.661 | 293.689 | 244.682 | 205.806 | 172.762 | 144.724 | 120.692 | 98.9566 | 80.4022 | 65.8532 | 55.4275 | 43.2346 | 34.8704 | 29.1568 | 24.3268 | 19.0845 | 2.7095 | 0.47122 | 0.058903 | 0.058903 | 0.058903 | 14359.9 | 8963.43 | 5869.41 | 4054.79 | 2778.1 | 1905.17 | 1374.66 | 996.918 | 742.935 | 575.261 | 454.509 | 365.138 | 298.139 | 244.917 | 206.766 | 175.387 | 145.243 | 120.457 | 95.1997 | 78.4205 | 65.4093 | 55.283 | 43.9791 | 35.3834 | 29.5549 | 23.9618 | 19.4874 | 2.826 | 0.88311 | 0 | 0 | 0 | 14432.6 | 8918.96 | 5809.18 | 4032.14 | 2755.34 | 1898.79 | 1365.15 | 994.955 | 740.374 | 573.393 | 451.27 | 362.519 | 296.408 | 245.163 | 206.483 | 175.341 | 147.088 | 121.489 | 98.2625 | 80.7424 | 66.5338 | 55.2139 | 43.6122 | 35.3219 | 29.0983 | 23.8845 | 19.1405 | 2.8887 | 0.51668 | 0.046971 | 0.046971 | 0.046971 | 25 | 280 | 36 | 46163.5 | 63010053 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 16 | -1 | 0 | 303 | 0
63010054-2026-05-21-LPA3 NAVAIR.csv | LPA3 NAVAIR | LPA3 NAVAIR | 63010054 | 1072 | 0 | LPA3 NAVAIR #63010054 CALIBRATE | 10874 | 74 | 184 | 1052 | 2200 | 3224 | 9736 | 16410 | 23448 | 60 | 300 | 750 | 200 | 500 | 11102 | 97.95 | 50 | 1779356791 | 1810892791 | 1 | 0 | 0 | 8 | 0 | 2147483648 | 0 | 0 | 0 | 30 | 0 | 1 | 30 | 150 | 40 | 20 | 100 | 90 | 50 | 50 | 50 | 40 | 20 | 40 | 20 | 0 | 74 | 122 | 184 | 252 | 338 | 434 | 538 | 656 | 784 | 914 | 1052 | 1200 | 1346 | 1496 | 1642 | 1796 | 1982 | 2200 | 2434 | 2682 | 2914 | 3224 | 3624 | 3992 | 4408 | 4806 | 5300 | 9736 | 16410 | 23448 | 23448 | 23448 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 38 | 50 | 70 | 70 | 70 | 1371556 | 556635 | 43358 | 11587 | 5349 | 303 | 71 | 11 | 1383540 | 561360 | 43596 | 11593 | 5519 | 298 | 35 | 5 | 1374693 | 559824 | 43346 | 12087 | 5736 | 309 | 29 | 11 | 1366300 | 561616 | 43836.5 | 12180 | 5782.61 | 358.648 | 67.5375 | 11.6444 | 13715.6 | 8500.7 | 5566.35 | 3881.58 | 2634.21 | 1835.91 | 1305.46 | 943.781 | 701.491 | 545.882 | 433.584 | 346.665 | 285.005 | 237.286 | 199.098 | 171.098 | 142.443 | 115.873 | 95.3194 | 78.7576 | 65.7108 | 53.498 | 41.4639 | 33.0639 | 25.8554 | 21.2681 | 16.8 | 3.0383 | 0.71489 | 0.11915 | 0.11915 | 0.11915 | 13835.4 | 8579.02 | 5613.61 | 3917.45 | 2664.05 | 1863.35 | 1331.9 | 957.457 | 711.998 | 549.809 | 435.961 | 350.843 | 286.945 | 238.425 | 201.589 | 170.653 | 142.757 | 115.934 | 97.4564 | 80.8858 | 68.0108 | 55.1955 | 42.3205 | 34.5121 | 27.4189 | 22.7696 | 17.5839 | 2.9803 | 0.35764 | 0.059606 | 0.059606 | 0.059606 | 13746.9 | 8510.83 | 5598.25 | 3912.12 | 2682.93 | 1872.12 | 1325.11 | 961.945 | 712.091 | 550.942 | 433.462 | 350.237 | 288.339 | 240.203 | 203.863 | 174.195 | 145.957 | 120.876 | 100.74 | 83.7614 | 70.7742 | 57.37 | 44.4424 | 35.8637 | 27.4041 | 22.102 | 18.051 | 3.0979 | 0.29787 | 0.11915 | 0.11915 | 0.11915 | 13663 | 8559.47 | 5616.16 | 3899.92 | 2667.9 | 1841.35 | 1320.31 | 960.034 | 716.34 | 556.206 | 438.365 | 351.777 | 291.343 | 243.252 | 207.177 | 176.459 | 147.977 | 121.8 | 100.654 | 82.978 | 70.4952 | 57.8261 | 45.4132 | 36.6333 | 29.4836 | 24.4998 | 19.7722 | 3.5865 | 0.67537 | 0.11644 | 0.11644 | 0.11644 | 25 | 261 | 34 | 46163.4 | 63010054 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 16 | -1 | 0 | 303 | 0
63010055-2026-05-20-LPA3 NAVAIR.csv | LPA3 NAVAIR | LPA3 NAVAIR | 63010055 | 1072 | 0 | LPA3 NAVAIR #63010055 CALIBRATE | 11566 | 74 | 174 | 1024 | 2182 | 3280 | 8748 | 13158 | 17878 | 60 | 300 | 750 | 200 | 500 | 11714 | 98.74 | 50 | 1779287177 | 1810823177 | 1 | 0 | 0 | 13 | 0 | 2147483648 | 0 | 0 | 0 | 30 | 0 | 1 | 30 | 150 | 40 | 20 | 100 | 90 | 50 | 50 | 50 | 40 | 20 | 40 | 20 | 0 | 74 | 118 | 174 | 238 | 316 | 408 | 504 | 622 | 750 | 882 | 1024 | 1168 | 1318 | 1480 | 1622 | 1786 | 1972 | 2182 | 2442 | 2694 | 2962 | 3280 | 3602 | 3972 | 4324 | 4664 | 4908 | 8748 | 13158 | 17878 | 17878 | 17878 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 38 | 50 | 70 | 70 | 70 | 1198608 | 514490 | 38207 | 10581 | 4796 | 484 | 124 | 41 | 1198925 | 516082 | 39367 | 11015 | 5179 | 461 | 112 | 53 | 1204344 | 516626 | 38947 | 11166 | 5181 | 496 | 112 | 47 | 1220800 | 515433 | 39407.9 | 11030.1 | 5153.43 | 440.754 | 101.712 | 22.6027 | 11986.1 | 7715.23 | 5144.91 | 3548.11 | 2413 | 1648.37 | 1185.03 | 850.564 | 629.125 | 486.113 | 382.077 | 310.748 | 254.087 | 211.266 | 179.209 | 150.406 | 125.565 | 105.81 | 86.6474 | 72.0978 | 60.6236 | 47.9666 | 40.5143 | 33.5352 | 28.3896 | 24.0129 | 21.0556 | 4.8499 | 1.242 | 0.41402 | 0.41402 | 0.41402 | 11989.3 | 7725.65 | 5160.82 | 3545.78 | 2429.54 | 1661.11 | 1209.89 | 872.505 | 651.304 | 500.289 | 393.68 | 317.344 | 259.93 | 215.465 | 183.713 | 156.928 | 131.739 | 110.157 | 90.2897 | 75.5666 | 62.9131 | 51.7968 | 43.5188 | 34.9451 | 28.7957 | 24.1246 | 21.6411 | 4.612 | 1.1235 | 0.53216 | 0.53216 | 0.53216 | 12043.4 | 7732.45 | 5166.27 | 3556.87 | 2420.07 | 1651.82 | 1195.41 | 856.397 | 642.106 | 494.696 | 389.47 | 316.504 | 263.27 | 216.891 | 185.518 | 157.868 | 134.767 | 111.665 | 92.7591 | 76.9842 | 64.1633 | 51.8151 | 44.0163 | 36.1583 | 30.1319 | 25.4644 | 22.1558 | 4.9629 | 1.1226 | 0.47266 | 0.47266 | 0.47266 | 12208 | 7808.34 | 5154.33 | 3578.24 | 2439.74 | 1677.8 | 1206.53 | 865.911 | 646.664 | 497.825 | 394.079 | 319.829 | 263.322 | 215.743 | 184.325 | 156.524 | 131.322 | 110.301 | 91.0891 | 76.6233 | 63.5137 | 51.5343 | 42.7192 | 34.6952 | 28.5925 | 24.298 | 21.3596 | 4.4075 | 1.0171 | 0.22603 | 0.22603 | 0.22603 | 45 | 306 | 37 | 46162.6 | 63010055 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 16 | -1 | 0 | 303 | 0
63010056-2026-05-21-LPA3 NAVAIR.csv | LPA3 NAVAIR | LPA3 NAVAIR | 63010056 | 1072 | 0 | LPA3 NAVAIR #63010056 CALIBRATE | 11604 | 68 | 168 | 992 | 2156 | 3170 | 11246 | 20092 | 31392 | 60 | 300 | 750 | 200 | 500 | 11813 | 98.23 | 50 | 1779359717 | 1810895717 | 1 | 0 | 0 | 10 | 0 | 2147483648 | 0 | 0 | 0 | 30 | 0 | 1 | 30 | 150 | 50 | 20 | 100 | 90 | 50 | 50 | 50 | 40 | 20 | 40 | 20 | 0 | 68 | 112 | 168 | 230 | 308 | 400 | 496 | 608 | 736 | 862 | 992 | 1130 | 1276 | 1414 | 1562 | 1726 | 1926 | 2156 | 2402 | 2636 | 2934 | 3170 | 3490 | 3814 | 4136 | 4516 | 5092 | 11246 | 20092 | 31392 | 31392 | 31392 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 38 | 50 | 70 | 70 | 70 | 1439303 | 579736 | 45812 | 11832 | 5356 | 272 | 33 | 14 | 1450837 | 585085 | 46258 | 12051 | 5413 | 157 | 9 | 0 | 1445704 | 581994 | 46449 | 12018 | 5722 | 119 | 23 | 9 | 1415270 | 580231 | 45814.7 | 11873.6 | 5545.63 | 184.087 | 34.5164 | 4.4329 | 14393 | 8865.8 | 5797.36 | 4022.38 | 2743.79 | 1887.9 | 1370.61 | 997.561 | 736.238 | 571.476 | 458.128 | 368.884 | 299.823 | 250.801 | 211.153 | 176.527 | 144.148 | 118.322 | 96.7048 | 80.2047 | 63.6568 | 53.5655 | 44.1915 | 37.0176 | 30.7045 | 25.6349 | 19.1305 | 2.7261 | 0.33478 | 0.14348 | 0.14348 | 0.14348 | 14508.4 | 8948.51 | 5850.86 | 4053.57 | 2762.48 | 1905.94 | 1372.29 | 1001.87 | 744.681 | 579.313 | 462.58 | 374.636 | 308.068 | 259.959 | 218.641 | 181.819 | 148.439 | 120.511 | 99.039 | 81.7275 | 64.3682 | 54.1343 | 43.1353 | 35.7229 | 29.0757 | 23.0501 | 17.5506 | 1.5781 | 0.095644 | 0 | 0 | 0 | 14457 | 8900.95 | 5819.94 | 4048.67 | 2784.28 | 1915.7 | 1388.96 | 1013.05 | 750.397 | 581.818 | 464.499 | 372.191 | 303.748 | 255.78 | 215.115 | 180.082 | 146.958 | 120.182 | 99.2288 | 82.81 | 66.4866 | 57.2272 | 45.8199 | 37.2287 | 30.833 | 25.2964 | 18.1371 | 1.1932 | 0.23864 | 0.095458 | 0.095458 | 0.095458 | 14152.7 | 8832.85 | 5802.31 | 4023.69 | 2753.25 | 1901.05 | 1368.92 | 999.364 | 742.562 | 575.733 | 458.147 | 369.9 | 302.133 | 252.775 | 213.541 | 178.795 | 146.579 | 118.736 | 96.7609 | 80.4231 | 65.1209 | 55.4563 | 45.1014 | 37.1626 | 31.1798 | 25.7722 | 19.6743 | 1.8409 | 0.34516 | 0.044329 | 0.044329 | 0.044329 | 37 | 328 | 32 | 46163.5 | 63010056 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 16 | -1 | 0 | 303 | 0
63010057-2026-05-20-LPA3 NAVAIR.csv | LPA3 NAVAIR | LPA3 NAVAIR | 63010057 | 1072 | 0 | LPA3 NAVAIR #63010057 CALIBRATE | 13738 | 74 | 184 | 1020 | 2080 | 2938 | 8336 | 12002 | 16328 | 60 | 300 | 750 | 200 | 500 | 14045 | 97.81 | 50 | 1779290763 | 1810826763 | 1 | 0 | 0 | 7 | 0 | 2147483648 | 0 | 0 | 0 | 30 | 0 | 1 | 30 | 150 | 40 | 20 | 100 | 90 | 50 | 50 | 50 | 40 | 20 | 40 | 20 | 0 | 74 | 122 | 184 | 254 | 340 | 436 | 536 | 652 | 776 | 892 | 1020 | 1150 | 1290 | 1426 | 1564 | 1702 | 1868 | 2080 | 2288 | 2494 | 2692 | 2938 | 3278 | 3578 | 3968 | 4184 | 4520 | 8336 | 12002 | 16328 | 16328 | 16328 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 38 | 50 | 70 | 70 | 70 | 1271433 | 533019 | 40601 | 11595 | 6022 | 431 | 115 | 36 | 1275112 | 534253 | 41943 | 11533 | 5696 | 455 | 91 | 30 | 1278181 | 533405 | 41632 | 11823 | 5820 | 401 | 121 | 48 | 1276640 | 528471 | 40866.8 | 11621.2 | 5776.63 | 373.782 | 101.941 | 33.9802 | 12714.3 | 8051.6 | 5330.19 | 3665.79 | 2466.47 | 1676.8 | 1200.72 | 862.224 | 642.414 | 507.684 | 406.013 | 332.662 | 272.742 | 229.108 | 194.954 | 167.911 | 143.056 | 115.952 | 96.748 | 82.649 | 70.9809 | 60.2244 | 48.7386 | 39.5621 | 31.7834 | 28.1371 | 23.0323 | 4.3148 | 1.1547 | 0.36463 | 0.36463 | 0.36463 | 12751.1 | 8076.14 | 5342.53 | 3682.35 | 2488.24 | 1711.86 | 1219.22 | 880.887 | 661.653 | 523.826 | 419.438 | 342.408 | 281.551 | 234.737 | 199.353 | 170.049 | 142.508 | 115.332 | 95.9984 | 81.2247 | 68.8221 | 56.9667 | 44.6858 | 37.9373 | 30.5201 | 27.1762 | 22.5557 | 4.5598 | 0.91195 | 0.30399 | 0.30399 | 0.30399 | 12781.8 | 8100.14 | 5334.06 | 3663.69 | 2485.2 | 1701.87 | 1218.7 | 877.241 | 649.035 | 517.659 | 416.329 | 339.145 | 279.479 | 237.329 | 201.261 | 172.979 | 143.602 | 118.239 | 97.3766 | 82.1102 | 70.3714 | 58.207 | 47.1373 | 39.4737 | 31.141 | 26.8835 | 22.8692 | 4.0143 | 1.2165 | 0.48658 | 0.48658 | 0.48658 | 12766.4 | 8065.88 | 5284.71 | 3655.93 | 2480.33 | 1699.92 | 1209.47 | 871.705 | 652.873 | 514.573 | 408.668 | 334.365 | 274.786 | 231.518 | 196.405 | 168.542 | 141.358 | 116.212 | 96.7303 | 81.0994 | 68.9798 | 57.7663 | 45.4202 | 37.3782 | 29.676 | 26.0515 | 21.0677 | 3.7378 | 1.0194 | 0.3398 | 0.3398 | 0.3398 | 22 | 257 | 39 | 46162.7 | 63010057 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 16 | -1 | 0 | 303 | 0
63010058-2026-05-20-LPA3 NAVAIR.csv | LPA3 NAVAIR | LPA3 NAVAIR | 63010058 | 1072 | 0 | LPA3 NAVAIR #63010058 CALIBRATE | 12999 | 74 | 192 | 1076 | 2194 | 3098 | 8716 | 12190 | 15984 | 60 | 300 | 750 | 200 | 500 | 13304 | 97.71 | 50 | 1779291174 | 1810827174 | 1 | 0 | 0 | 7 | 0 | 2147483648 | 0 | 0 | 0 | 30 | 0 | 1 | 30 | 150 | 40 | 20 | 100 | 90 | 50 | 50 | 50 | 40 | 20 | 40 | 20 | 0 | 74 | 124 | 192 | 266 | 358 | 460 | 568 | 690 | 818 | 940 | 1076 | 1218 | 1368 | 1510 | 1660 | 1808 | 1980 | 2194 | 2420 | 2640 | 2858 | 3098 | 3472 | 3842 | 4252 | 4516 | 4918 | 8716 | 12190 | 15984 | 15984 | 15984 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 38 | 50 | 70 | 70 | 70 | 1292710 | 526094 | 40462 | 11421 | 5992 | 340 | 121 | 42 | 1300181 | 531858 | 41286 | 11896 | 5996 | 424 | 139 | 60 | 1312552 | 533935 | 40697 | 11463 | 5783 | 321 | 91 | 30 | 1276640 | 528471 | 40866.8 | 11621.2 | 5776.63 | 373.782 | 101.941 | 33.9802 | 12927.1 | 8103.39 | 5260.95 | 3657.88 | 2470.18 | 1700.95 | 1209.31 | 870.146 | 649.072 | 511.425 | 404.623 | 329.576 | 271.044 | 229.877 | 191.807 | 163.756 | 138.133 | 114.21 | 95.8733 | 81.2403 | 70.3718 | 59.9284 | 46.8741 | 36.4913 | 29.3874 | 25.6229 | 20.9476 | 3.4002 | 1.2144 | 0.42502 | 0.42502 | 0.42502 | 13001.8 | 8165.59 | 5318.59 | 3686.8 | 2499.69 | 1725.86 | 1223.23 | 880.716 | 657.35 | 517.322 | 412.862 | 333.834 | 271.377 | 231.984 | 197.873 | 168.677 | 143.185 | 118.966 | 99.7254 | 83.7621 | 71.1977 | 59.9688 | 46.8582 | 37.268 | 29.1953 | 25.25 | 19.0589 | 4.2488 | 1.396 | 0.60697 | 0.60697 | 0.60697 | 13125.5 | 8212.7 | 5339.36 | 3703.81 | 2524.09 | 1732.32 | 1223.22 | 879.13 | 653.5 | 515.048 | 406.972 | 329.453 | 270.282 | 228.12 | 193.614 | 165.668 | 139.302 | 114.637 | 95.6223 | 80.9205 | 68.9525 | 57.8351 | 45.5026 | 35.9039 | 27.6418 | 24.3612 | 19.2581 | 3.2198 | 0.91127 | 0.30376 | 0.30376 | 0.30376 | 12766.4 | 8065.88 | 5284.71 | 3655.93 | 2480.33 | 1699.92 | 1209.47 | 871.705 | 652.873 | 514.573 | 408.668 | 334.365 | 274.786 | 231.518 | 196.405 | 168.542 | 141.358 | 116.212 | 96.7303 | 81.0994 | 68.9798 | 57.7663 | 45.4202 | 37.3782 | 29.676 | 26.0515 | 21.0677 | 3.7378 | 1.0194 | 0.3398 | 0.3398 | 0.3398 | 40 | 290 | 37 | 46162.7 | 63010058 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 16 | -1 | 0 | 303 | 0
63010059-2026-05-20-LPA3 NAVAIR.csv | LPA3 NAVAIR | LPA3 NAVAIR | 63010059 | 1072 | 0 | LPA3 NAVAIR #63010059 CALIBRATE | 12311 | 72 | 176 | 1002 | 2036 | 2900 | 8260 | 13176 | 16046 | 60 | 300 | 750 | 200 | 500 | 12507 | 98.43 | 50 | 1779284823 | 1810820823 | 1 | 0 | 0 | 6 | 0 | 2147483648 | 0 | 0 | 0 | 30 | 0 | 1 | 30 | 150 | 40 | 20 | 100 | 90 | 50 | 50 | 50 | 40 | 20 | 40 | 20 | 0 | 72 | 116 | 176 | 238 | 318 | 410 | 508 | 618 | 742 | 872 | 1002 | 1134 | 1256 | 1396 | 1520 | 1662 | 1818 | 2036 | 2232 | 2466 | 2656 | 2900 | 3268 | 3660 | 4038 | 4530 | 4930 | 8260 | 13176 | 16046 | 16046 | 16046 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 38 | 50 | 70 | 70 | 70 | 1177397 | 496450 | 37139 | 11505 | 5924 | 397 | 89 | 35 | 1183501 | 498600 | 38771 | 11971 | 6116 | 546 | 118 | 35 | 1182262 | 499865 | 39019 | 11519 | 5979 | 487 | 118 | 65 | 1181320 | 501618 | 38258.4 | 10950.3 | 5531.48 | 394.301 | 78.8601 | 10.962 | 11774 | 7605.27 | 4964.51 | 3482.39 | 2361.8 | 1621.87 | 1157.39 | 834.918 | 615.087 | 466.495 | 371.391 | 304.011 | 257.469 | 216.922 | 188.961 | 163.315 | 140.696 | 115.051 | 98.6656 | 80.5591 | 69.5765 | 59.2469 | 45.7709 | 35.7974 | 29.0891 | 22.2027 | 18.7595 | 3.9775 | 0.89048 | 0.35619 | 0.35619 | 0.35619 | 11835 | 7612.21 | 4986.01 | 3511.14 | 2391.34 | 1639.95 | 1175.15 | 848.48 | 628.699 | 484.574 | 387.719 | 316.814 | 268.06 | 228.035 | 199.055 | 169.779 | 145.788 | 119.718 | 99.3496 | 82.247 | 71.5578 | 61.1656 | 48.1605 | 37.5901 | 30.7016 | 24.0506 | 19.478 | 5.4633 | 1.1877 | 0.3563 | 0.3563 | 0.3563 | 11822.6 | 7663.98 | 4998.65 | 3510.28 | 2387.41 | 1638.43 | 1171.66 | 848.817 | 628.074 | 484.741 | 390.196 | 314.454 | 265.307 | 222.111 | 193.551 | 166.3 | 144.167 | 115.191 | 97.4598 | 82.2875 | 72.2916 | 59.7968 | 47.5994 | 37.068 | 30.2851 | 23.7997 | 19.9323 | 4.8789 | 1.19 | 0.65449 | 0.65449 | 0.65449 | 11813.2 | 7564.6 | 5016.18 | 3528.2 | 2407.15 | 1633.19 | 1169.05 | 840.311 | 619.052 | 479.132 | 382.584 | 309.808 | 260.464 | 220.696 | 186.786 | 160.762 | 135.639 | 109.503 | 92.6043 | 77.8462 | 66.0172 | 55.3148 | 44.1617 | 37.2896 | 30.3048 | 25.4606 | 21.0669 | 3.943 | 0.7886 | 0.10962 | 0.10962 | 0.10962 | 27 | 312 | 30 | 46162.6 | 63010059 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 16 | -1 | 0 | 303 | 0
63010060-2026-05-20-LPA3 NAVAIR.csv | LPA3 NAVAIR | LPA3 NAVAIR | 63010060 | 1072 | 0 | LPA3 NAVAIR #63010060 CALIBRATE | 8137 | 58 | 134 | 812 | 1798 | 2726 | 8428 | 14338 | 31204 | 60 | 300 | 750 | 200 | 500 | 8255 | 98.57 | 50 | 1779281545 | 1810817545 | 1 | 0 | 0 | 15 | 0 | 2147483648 | 0 | 0 | 0 | 30 | 0 | 1 | 30 | 150 | 40 | 20 | 100 | 90 | 50 | 50 | 50 | 40 | 20 | 40 | 20 | 0 | 58 | 90 | 134 | 182 | 246 | 316 | 396 | 484 | 594 | 704 | 812 | 936 | 1050 | 1170 | 1304 | 1426 | 1600 | 1798 | 2038 | 2250 | 2508 | 2726 | 2976 | 3296 | 3686 | 4030 | 4408 | 8428 | 14338 | 31204 | 31204 | 31204 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 38 | 50 | 70 | 70 | 70 | 1107725 | 487502 | 37954 | 11379 | 5524 | 405 | 68 | 5 | 1105326 | 485547 | 38308 | 11141 | 5527 | 541 | 136 | 11 | 1114791 | 488432 | 38293 | 11582 | 5742 | 479 | 91 | 5 | 1110040 | 480388 | 37717.8 | 11138.5 | 5496.74 | 460.139 | 88.4012 | 18.1336 | 11077.3 | 7341.33 | 4875.03 | 3404.25 | 2287 | 1591.36 | 1129.52 | 825.126 | 605.819 | 469.087 | 379.55 | 308.331 | 262.278 | 222.103 | 189.575 | 164.751 | 135.933 | 113.791 | 92.1055 | 77.7247 | 63.7434 | 55.2405 | 47.0229 | 39.433 | 32.6421 | 26.4218 | 21.3429 | 4.0517 | 0.6848 | 0.057067 | 0.057067 | 0.057067 | 11053.3 | 7313.98 | 4855.47 | 3389.03 | 2284.18 | 1585.32 | 1121.77 | 826.684 | 607.333 | 473.58 | 383.081 | 311.275 | 260.212 | 220.149 | 187.323 | 163.103 | 135.52 | 111.414 | 91.7525 | 77.3342 | 63.9988 | 55.2795 | 45.9902 | 38.0117 | 31.0591 | 26.101 | 21.8268 | 5.414 | 1.3677 | 0.11398 | 0.11398 | 0.11398 | 11147.9 | 7371.52 | 4884.33 | 3406.18 | 2284.85 | 1583.42 | 1131.59 | 828.606 | 609.679 | 472.642 | 382.938 | 310 | 259.873 | 219.612 | 187.392 | 164.41 | 138.405 | 115.822 | 94.4942 | 79.7241 | 67.4633 | 57.4265 | 48.7583 | 41.0596 | 32.6196 | 28.0004 | 23.2101 | 4.7903 | 0.91244 | 0.057027 | 0.057027 | 0.057027 | 11100.4 | 7198.17 | 4803.88 | 3362.53 | 2300.47 | 1582.04 | 1129 | 822.29 | 608.223 | 473.445 | 377.178 | 306.185 | 254.187 | 213.931 | 183.194 | 157.739 | 134.211 | 111.385 | 92.6172 | 77.113 | 65.6209 | 54.9674 | 44.6313 | 36.5392 | 29.6484 | 24.5483 | 21.0803 | 4.6014 | 0.88401 | 0.18134 | 0.18134 | 0.18134 | 35 | 298 | 39 | 46162.6 | 63010060 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 16 | -1 | 0 | 303 | 0
63010061-2026-05-20-LPA3 NAVAIR.csv | LPA3 NAVAIR | LPA3 NAVAIR | 63010061 | 1072 | 0 | LPA3 NAVAIR #63010061 CALIBRATE | 11127 | 70 | 172 | 978 | 1980 | 2906 | 7688 | 12712 | 25992 | 60 | 300 | 750 | 200 | 500 | 11124 | 100.03 | 50 | 1779281543 | 1810817543 | 1 | 0 | 0 | 9 | 0 | 2147483648 | 0 | 0 | 0 | 30 | 0 | 1 | 30 | 150 | 40 | 20 | 100 | 90 | 50 | 50 | 50 | 40 | 20 | 40 | 20 | 0 | 70 | 114 | 172 | 234 | 312 | 402 | 498 | 604 | 734 | 858 | 978 | 1114 | 1240 | 1364 | 1496 | 1622 | 1800 | 1980 | 2232 | 2442 | 2686 | 2906 | 3120 | 3394 | 3744 | 4016 | 4346 | 7688 | 12712 | 25992 | 25992 | 25992 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 38 | 50 | 70 | 70 | 70 | 1144076 | 489012 | 38294 | 11542 | 5747 | 492 | 64 | 5 | 1138657 | 487740 | 38281 | 11418 | 5545 | 514 | 64 | 0 | 1139267 | 488615 | 38570 | 11152 | 5392 | 455 | 64 | 5 | 1110040 | 480388 | 37717.8 | 11138.5 | 5496.74 | 460.139 | 88.4012 | 18.1336 | 11440.8 | 7383.61 | 4890.13 | 3427.59 | 2339.51 | 1607.02 | 1149.43 | 844.404 | 615.433 | 476.984 | 382.947 | 308.478 | 256.098 | 220.124 | 189.774 | 164.639 | 137.98 | 115.423 | 92.6899 | 79.5071 | 66.7344 | 57.4771 | 48.6886 | 41.7749 | 33.3379 | 28.6507 | 24.1978 | 4.9216 | 0.64449 | 0.05859 | 0.05859 | 0.05859 | 11386.6 | 7347.4 | 4877.4 | 3416.1 | 2324.39 | 1601.23 | 1154.71 | 843.261 | 612.6 | 474.718 | 382.817 | 310.278 | 258.916 | 219.429 | 185.675 | 162.744 | 135.951 | 114.19 | 92.1942 | 77.9205 | 64.1148 | 55.4569 | 48.6711 | 40.1887 | 31.9989 | 27.319 | 22.7561 | 5.1479 | 0.64349 | 0 | 0 | 0 | 11392.7 | 7352.63 | 4886.15 | 3419.97 | 2321.92 | 1604.85 | 1151.68 | 840.796 | 612.432 | 479.429 | 385.703 | 311.177 | 255.676 | 218.909 | 187.336 | 161.249 | 132.711 | 111.526 | 90.6334 | 76.627 | 64.0795 | 53.9249 | 46.2797 | 39.2764 | 32.3899 | 28.188 | 23.3441 | 4.5521 | 0.64196 | 0.05836 | 0.05836 | 0.05836 | 11100.4 | 7198.17 | 4803.88 | 3362.53 | 2300.47 | 1582.04 | 1129 | 822.29 | 608.223 | 473.445 | 377.178 | 306.185 | 254.187 | 213.931 | 183.194 | 157.739 | 134.211 | 111.385 | 92.6172 | 77.113 | 65.6209 | 54.9674 | 44.6313 | 36.5392 | 29.6484 | 24.5483 | 21.0803 | 4.6014 | 0.88401 | 0.18134 | 0.18134 | 0.18134 | 32 | 298 | 34 | 46162.6 | 63010061 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 16 | -1 | 0 | 303 | 0
63010062-2026-05-21-LPA3 NAVAIR.csv | LPA3 NAVAIR | LPA3 NAVAIR | 63010062 | 1072 | 0 | LPA3 NAVAIR #63010062 CALIBRATE | 10865 | 76 | 180 | 1020 | 2204 | 3244 | 11420 | 18008 | 30374 | 60 | 300 | 750 | 200 | 500 | 11060 | 98.24 | 50 | 1779359702 | 1810895702 | 1 | 0 | 0 | 8 | 0 | 2147483648 | 0 | 0 | 0 | 30 | 0 | 1 | 30 | 150 | 40 | 20 | 100 | 90 | 50 | 50 | 50 | 40 | 20 | 40 | 20 | 0 | 76 | 122 | 180 | 244 | 322 | 416 | 516 | 630 | 758 | 888 | 1020 | 1160 | 1304 | 1448 | 1594 | 1760 | 1964 | 2204 | 2458 | 2698 | 3006 | 3244 | 3572 | 3932 | 4228 | 4602 | 5124 | 11420 | 18008 | 30374 | 30374 | 30374 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 38 | 50 | 70 | 70 | 70 | 1443077 | 588111 | 47076 | 12122 | 5515 | 143 | 23 | 11 | 1424740 | 580711 | 45733 | 12357 | 5636 | 179 | 23 | 5 | 1420326 | 578927 | 46206 | 12094 | 5600 | 185 | 59 | 0 | 1415270 | 580231 | 45814.7 | 11873.6 | 5545.63 | 184.087 | 34.5164 | 4.4329 | 14430.8 | 8992.42 | 5881.12 | 4058.54 | 2792.29 | 1913.65 | 1375.67 | 1007.85 | 752.077 | 589.359 | 470.767 | 382.573 | 311.047 | 258.706 | 220.575 | 182.863 | 148.149 | 121.229 | 98.2664 | 82.4982 | 66.1305 | 55.1587 | 44.8464 | 36.9923 | 31.4165 | 25.2411 | 20.025 | 1.4389 | 0.23982 | 0.11991 | 0.11991 | 0.11991 | 14247.4 | 8850.12 | 5807.12 | 4002.89 | 2752.01 | 1886.53 | 1357.62 | 989.296 | 741.493 | 574.853 | 457.331 | 371.555 | 309.38 | 257.387 | 218.632 | 184.789 | 154.72 | 123.572 | 99.9719 | 82.8407 | 66.608 | 56.3652 | 44.8047 | 36.4787 | 30.309 | 24.379 | 17.9099 | 1.797 | 0.2396 | 0.059899 | 0.059899 | 0.059899 | 14203.3 | 8858.55 | 5789.27 | 3994.97 | 2748.6 | 1891.68 | 1354 | 996.689 | 742.39 | 576.595 | 462.067 | 374.883 | 308.505 | 261.494 | 218.681 | 186.122 | 151.284 | 120.943 | 99.5369 | 84.0068 | 65.6584 | 56.0045 | 46.0508 | 37.7761 | 32.3795 | 26.2634 | 19.7275 | 1.8588 | 0.59962 | 0 | 0 | 0 | 14152.7 | 8832.85 | 5802.31 | 4023.69 | 2753.25 | 1901.05 | 1368.92 | 999.364 | 742.562 | 575.733 | 458.147 | 369.9 | 302.133 | 252.775 | 213.541 | 178.795 | 146.579 | 118.736 | 96.7609 | 80.4231 | 65.1209 | 55.4563 | 45.1014 | 37.1626 | 31.1798 | 25.7722 | 19.6743 | 1.8409 | 0.34516 | 0.044329 | 0.044329 | 0.044329 | 17 | 253 | 34 | 46163.5 | 63010062 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 16 | -1 | 0 | 303 | 0
63010063-2026-05-22-LPA3 NAVAIR.csv | LPA3 NAVAIR | LPA3 NAVAIR | 63010063 | 1072 | 0 | LPA3 NAVAIR #63010063 CALIBRATE | 10850 | 72 | 174 | 1000 | 2122 | 3042 | 9018 | 15954 | 24004 | 60 | 300 | 750 | 200 | 500 | 1974 | -97.55 | 50 | 1779443292 | 1810979292 | 1 | 0 | 0 | 9 | 0 | 2147483648 | 0 | 0 | 0 | 30 | 0 | 1 | 30 | 150 | 40 | 20 | 100 | 90 | 50 | 50 | 50 | 40 | 20 | 40 | 20 | 0 | 72 | 116 | 174 | 236 | 314 | 404 | 502 | 612 | 740 | 868 | 1000 | 1136 | 1282 | 1414 | 1556 | 1728 | 1900 | 2122 | 2336 | 2578 | 2816 | 3042 | 3354 | 3698 | 4102 | 4466 | 4992 | 9018 | 15954 | 24004 | 24004 | 24004 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 38 | 50 | 70 | 70 | 70 | 1083253 | 457072 | 36217 | 10908 | 5622 | 401 | 40 | 17 | 1091030 | 459159 | 35445 | 10488 | 5453 | 401 | 58 | 5 | 1088871 | 460200 | 36201 | 10714 | 5560 | 425 | 64 | 5 | 1086120 | 459103 | 36722.2 | 10859.7 | 5699.14 | 432.73 | 82.8632 | 13.8105 | 10832.5 | 6941.28 | 4570.73 | 3192.75 | 2161.35 | 1483.8 | 1059.92 | 779.648 | 575.568 | 451.001 | 362.175 | 296.166 | 246.456 | 208.62 | 179.632 | 150.935 | 129.689 | 109.083 | 92.843 | 76.4281 | 63.7386 | 56.2297 | 46.4506 | 37.4282 | 29.7447 | 24.5641 | 19.6746 | 4.0164 | 0.40746 | 0.17463 | 0.17463 | 0.17463 | 10910.3 | 6988.79 | 4591.6 | 3205.33 | 2173.11 | 1494.7 | 1064.76 | 767.808 | 568.639 | 441.525 | 354.454 | 290.256 | 239.853 | 205.571 | 175.888 | 148.999 | 127.871 | 104.881 | 90.4468 | 76.0707 | 63.9064 | 54.5358 | 44.7578 | 36.1438 | 29.7415 | 24.2705 | 18.6248 | 4.016 | 0.58203 | 0.058202 | 0.058202 | 0.058202 | 10888.7 | 6972.54 | 4602.01 | 3201.76 | 2176.1 | 1498.72 | 1068.28 | 780.045 | 582.472 | 452.852 | 362.014 | 294.7 | 242.468 | 208.521 | 180.337 | 152.038 | 129.969 | 107.143 | 91.1295 | 75.8733 | 64.7514 | 55.6094 | 46.7002 | 37.9658 | 31.0364 | 25.7375 | 20.1475 | 4.2508 | 0.64053 | 0.05823 | 0.05823 | 0.05823 | 10861.2 | 6936.89 | 4591.03 | 3192.76 | 2177.87 | 1499.27 | 1073.77 | 786.924 | 584.692 | 456.898 | 367.222 | 300.195 | 248.083 | 210.703 | 180.734 | 152.514 | 130.832 | 108.597 | 92.4385 | 77.2929 | 66.1064 | 56.9914 | 47.0479 | 38.2552 | 30.9816 | 25.5034 | 20.4396 | 4.3273 | 0.82863 | 0.13811 | 0.13811 | 0.13811 | 37 | 280 | 35 | 46164.4 | 63010063 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 16 | -1 | 0 | 303 | 0
63010064-2026-05-21-LPA3 NAVAIR.csv | LPA3 NAVAIR | LPA3 NAVAIR | 63010064 | 1072 | 0 | LPA3 NAVAIR #63010064 CALIBRATE | 12114 | 68 | 170 | 998 | 2204 | 3288 | 12406 | 17410 | 29200 | 60 | 300 | 750 | 200 | 500 | 12328 | 98.26 | 50 | 1779359701 | 1810895701 | 1 | 0 | 0 | 8 | 0 | 2147483648 | 0 | 0 | 0 | 30 | 0 | 1 | 30 | 150 | 40 | 20 | 100 | 90 | 50 | 50 | 50 | 40 | 20 | 40 | 20 | 0 | 68 | 112 | 170 | 232 | 310 | 402 | 500 | 610 | 736 | 866 | 998 | 1138 | 1292 | 1440 | 1586 | 1758 | 1964 | 2204 | 2476 | 2730 | 3036 | 3288 | 3622 | 3982 | 4338 | 4736 | 5280 | 12406 | 17410 | 29200 | 29200 | 29200 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 38 | 50 | 70 | 70 | 70 | 1414027 | 572829 | 46964 | 12404 | 5775 | 201 | 54 | 0 | 1433146 | 582996 | 46839 | 12452 | 5869 | 176 | 54 | 18 | 1428440 | 581116 | 47798 | 12394 | 5776 | 152 | 67 | 6 | 1415270 | 580231 | 45814.7 | 11873.6 | 5545.63 | 184.087 | 34.5164 | 4.4329 | 14140.3 | 8830.21 | 5728.29 | 4007.55 | 2741.99 | 1896.01 | 1365.14 | 1001.19 | 752.917 | 586.673 | 469.643 | 384.264 | 313.034 | 261.136 | 220.155 | 183.442 | 150.327 | 124.043 | 99.8319 | 83.1221 | 67.51 | 57.7525 | 46.7143 | 38.5423 | 31.4681 | 26.8333 | 20.9177 | 2.0125 | 0.54886 | 0 | 0 | 0 | 14331.5 | 8952.57 | 5829.96 | 4065.92 | 2788.02 | 1926.52 | 1385.4 | 1020 | 761.311 | 588.463 | 468.391 | 379.923 | 311.773 | 259.79 | 220.01 | 184.44 | 151.859 | 124.526 | 101.89 | 84.9901 | 68.7608 | 58.6938 | 46.4913 | 37.4615 | 30.9942 | 25.9302 | 19.707 | 1.7693 | 0.54911 | 0.18304 | 0.18304 | 0.18304 | 14284.4 | 8928.35 | 5811.16 | 4066.25 | 2799.02 | 1931.56 | 1400.94 | 1027.15 | 766.38 | 592.047 | 477.981 | 384.654 | 314.262 | 262.963 | 223.985 | 186.715 | 151.824 | 123.948 | 99.3048 | 82.2864 | 66.8539 | 57.7652 | 46.6635 | 37.5748 | 30.987 | 25.7412 | 20.0074 | 1.525 | 0.67098 | 0.060998 | 0.060998 | 0.060998 | 14152.7 | 8832.85 | 5802.31 | 4023.69 | 2753.25 | 1901.05 | 1368.92 | 999.364 | 742.562 | 575.733 | 458.147 | 369.9 | 302.133 | 252.775 | 213.541 | 178.795 | 146.579 | 118.736 | 96.7609 | 80.4231 | 65.1209 | 55.4563 | 45.1014 | 37.1626 | 31.1798 | 25.7722 | 19.6743 | 1.8409 | 0.34516 | 0.044329 | 0.044329 | 0.044329 | 23 | 275 | 30 | 46163.5 | 63010064 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 16 | -1 | 0 | 303 | 0